Purchasing Office / City of Mesa   20 East Main Street, Suite 450 • Mesa, AZ 85201

|  | Issue Date: | 03/9/2026 |
| --- | --- | --- |
| This addendum will modify and/or clarify: | Solicitation No.: | 2026086 |
| and is | Addendum No.: | Three (3) |
|  | Procurement Description: | Electrical & Data Communications Products, Solutions & Services |

| Below are the questions submitted by prospective proposers regarding this RFP, along with the City of Mesa’s responses. |  |  |
| --- | --- | --- |
| 1. | Question: | Sample Pricing Tab (Items 41–47) are all HID ballast, they can be single tap (120v) voltage, dual tap (120/277v), up to 5 tap (120-480V)? |
|  | Response: | Please price as HID multi tap |
| 2. | Question: | Sample Pricing Tab (Item 48) is this item a 2 lamp, 3 lamp or 4 lamp ballast? |
|  | Response: | All. Please price four lamp ballast |
| 3. | Question: | Sample Pricing Tab (Item 49) is it a medium or mogul base? |
|  | Response: | Please price mogual |
| 4. | Question: | Sample Pricing Tab (Items 52-55 are these items Probe Start or Pulse Start? |
|  | Response: | Please price pulse start |
| 5. | Question: | Sample Pricing Tab (Item 56) is it an LED T8 or Fluorescent T8? What color temp? Is it color selectable? Is it Type A or type B LED? |
|  | Response: | The City has updated the Sample Pricing Tab to include Items 56a, 56b, and 56c, adding Fluorescent and LED lamp categories. All modifications appear in red font for easy identification. |
| 6. | Question: | Sample Pricing Tab (Items 57-62) are these items color selectable? What style or grade are they? |
|  | Response: | The City has updated the Sample Pricing Tab Items 57–62 to incorporate color selectable. All changes are shown in red font for easy identification |

Please contact Ted.Stallings@MesaAZ.gov or Martin.Amaya@MesaAZ.gov with any questions you may have regarding this addendum.

The balance of the specifications and bid/proposal solicitation instructions to remain the same.  Bidders/Proposal Offerors are to acknowledge receipt and acceptance of this addendum by indicating receipt on the Required Response Forms attachment of this bid/proposal response.  Failure to acknowledge an addendum prior to bid/proposal opening time and date may make the bid/proposal response non-responsive to that portion of the solicitation as materially affected by the respective addendum.